MCQ Power Generation Technologies

1. The distinguishing feature of Velox bolier is that it

a. is drumless                                                   b. uses supersonic

c. operates under supercritical pressure              d. uses indirect heating

2. The blow off valve of a boiler helps to

a. provide safety                       b. maintain solids in suspension below a certain value

c. regulate the flow of steam      d. shut down the boiler

3. Match list 1 (materials) and list 2 (application in nuclear reactor) and select the correct answer using the codes given below the lists:

List 1                            List 2

A. Zirconium                             1. Cladding

B. Graphite                               2. Coolant

C. Liquid sodium                       3. Control rod

D. Cadmium                              4. Shield

Codes:

A          B          C          D

a.         1          -           2          3

b.         1          4          2          3

c.         4          1          3          -

c.         4          -           3          2

4. The overall efficiency of a steam power plant can be increased by

1. increasing the steam pressure

2. increasing the condenser pressure

3. improving turbine blade cooling

4. providing air preheaters

Of these statements

a. 1, 2 and 3 are correct             b. 2 and 3 are correct

c. 1 and 4 are correct                 d. 2 and 4 are correct

5. In a hydroelectric power plant, forebay refers to the

a. beginning of the open channel at the dam                           b. end of penstock at the valve house

c. level where penstock begins                                              d. tail race level at the turbine exit

6. Which of the following pairs is NOT correctly matched?

Material                        Function in a nuclear reactor

a. Graphite                                Moderator

b. Lead                                     Reflector

c. Uranium-235                          Fuel

d. Concrete                               Biological shield

7. In high pressure water tube boilers, the tube bundles are

a. hung from top grinders          b. supported on brick walls

c. bolted on steel structures       d. firmly fixed on any structure

8. In large power boilers, soot blowers are used at regular intervals for cleaning the tubes. What is the fluid used for the same?

a. Low pressure steam               b. Hot gases                 c. Hot air           d. Boiling water

9. There is no steam drum in

a. Le Mont boiler                                   b. Loeffler boiler

c. Benson boiler                                    d. Velox boiler

10. The function of an economizer in a steam power plant is to

a. increase the temperature of air supplied to a boiler                     b. increase the enthalpy of feed water

c. condense the exhaust steam from the turbine                            d. heat the fuel before combustion

1. Out of the following which one is not a unconventional source of energy ?

(A) Tidal power

(B) Geothermal energy

(C) Nuclear energy

(D) Wind power.

C

2. Pulverized coal is

(A) coal free from ash

(B) non-smoking coal

(C) coal which bums For long time

(D) coal broken into fine particles.

D

3. Heating value of coal is approximately

(A) 1000-2000 kcal / kg

(B) 2000-4000 kcal / kg

(C) 5000-6500 kcal / kg

(D) 9000-10,500 kcal / kg.

C

4. Water gas is a mixture of

(A) CO2 and O2

(B) O2and H2

(C) H2, N2 and O2

(D) CO, N2 and H2.

D

5. Coal used in power plant is also known as

(A) steam coal

(B) charcoal

(C) coke

(D) soft coal.

A

6. Which of the following is considered as superior quality of coal ?

(A) Bituminous coal

(B) Peat

(C) Lignite

(D) Coke.

A

7. In a power plant, coal is carried from storage place to boilers generally by means of

(A) bucket

(B) V-belts

(C) trolleys

(D) manually.

B

8. Live storage of coal in a power plant means

(A) coal ready for combustion

(B) preheated coal

(C) storage of coal sufficient to meet 24 hour demand of the plant

(D) coal in transit.

C

9. Pressure of steam in condenser is

(A) atmospheric pressure

(B) more than pressure

(C) slightly less than pressure

(D) much less than pressure.

D

10. Equipment used for pulverizing the coal is known as

(A) Ball mill

(B) Hopper

(C) Burner

(D) Stoker.

A

11. Power plants using coal work closely on known which of the following cycle ?

(A) Otto cycle

(B) Binary vapor cycle

(C) Brayton cycle

(D) Rankine cycle.

D

12. Critical pressure of water is

(A) 1 kg / cm2

(B) 100 kg / cm2

(C) 155 kg / cm2

(D) 213.8 kg / cm2.

D

13. The efficiency of a thermal power plant improves with

(A) increased quantity of coal burnt

(B) larger quantity of water used

(C) lower load in the plant

(D) use of high steam pressures.

D

14. Which of the following contributes to the improvement of efficiency of Rankine cycle in a thermal power plant ?

(A) Reheating of steam at intermediate stage

(B) Regeneration use of steam for heating boiler feed water

(C) Use of high pressures

(D) All of the above.

D

15. Steam pressures usually used in thermal power plants are

(A) 5 kg/cm2 to 10 kg / cm2

(B) 50 kg/cm2 to 100 kg / cm2

(C) 110 kg/cm2 to 170 kg / cm2

(D) 200 kg/cm2 to 215 kg / cm2

C

1.C ----- 2.D ----- 3.C ----- 4.D ----- 5.A ----- 6.A ----- 7.B ----- 8.C -----9.D -----10.A -----11.D ----- 12.D -----13.D -----14.D ----- 15.C

.Evaporative type of condenser has

steam in pipes surrounded by water

water in pipes surrounded by steam

either (a) or (b)

none of the above

2.In a shell and tube surface condenser

steam and cooling water mix to give the condensate

cooling water passes through the tubes and steam surrounds them

steam passes through the cooling tubes and cooling water surrounds them

all of the above varying with situa�tion

3.The pressure on the two sides of the impulse wheel of a steam turbine

is same

is different

increases from one side to the other side

decreases from one side to the other side

4.Incase of reaction steam turbine

there is enthalpy drop both in fixed and moving blades

there is enthalpy drop only in fixed blades

there is enthalpy drop only in moving blades

none of the above

5.In a steam power plant, the function of a condenser is

to maintain pressure below atmospheric to increase work output from the primemover

to receive large volumes of steam exhausted from steam prime mover

to condense large volumes of steam to water which may be used again in boiler

all of the above

11. Load factor of a power station is the ratio of:

(a) maximum demand/connected load
(b) maximum demand/average load
(c) connected load/maximum demand
(d) average load/maximum demand

12. Demand factor of a power station is the ratio of

(a) maximum demand/connected load
(b) maximum demand/average load
(c) connected load/maximum demand
(d) average load/maximum demand

13. Diversity factor of a generating station is defined as the ratio of

(a) maximum demand/connected load
(b) average load/maximum demand
(c) sum of individual maximum demand/maximum demand on power station
(d) actual energy produced/maximum energy that could have been produced

14. Plant capacity factor is defined as the ratio of

(a) maximum demand/connected load
(b) average load/maximum load
(c) sum of individual maximum loads/maximum demand on power station
(d)actual energy produced/maximum energy that could have been produced

15. The maximum demand on a power station is 150 MW. If the annual load factor is 40%, the total energy generated in a year is:

(a) 3504 x KWh
(b) 7008 x KWh
(c) 5256 x KWh
(d) None of the above

16. A power station has a maximum demand of 10 MW. The annual load factor is 50% and plant capacity factor is 40%. The reserve capacity of the plant is

(a) 3750 KW
(b) 7400 KW
(c) 2500 KW
(d) None of the above

17. More effecient plants are used as

(a) base load stations
(b) peak load stations
(c) stand by stations
(d) none of the above

18. Area under the daily load curve divided by 24 gives

(a) average load
(b) unit generated
(c) maximum demand
(d) none of the above

19. A diesel power plant is generally used as a:

(a) base load station
(b) peak load station
(c) both base and peak load station
(d) none of the above

20. In an interconnected system, the diversity factor of the whole system

(a) increases
(b) decreases
(c) remains constant
(d) none of the above

221. Turn around efficiency of pump hydro-schemes seldom exceeds

(A) 10%

(B) 15%

(C) 25%

(D) 65%.

222. Batteries used for electrical energy storage are

(A) Laclanche cells

(B) Edison cells

(C) Lead acid cells

(D) Any of the above.

223. Turn around efficiency of battery energy storage system is around

(A) 75 percent

(B) 50 percent

(C) 25 percent

(D) 10 percent.

224. Sodium sulphur batteries use electrolyte consisting of

(A) solid aluminium oxide

(B) dilute sulphuric acid

(C) brine

(D) KOH.

225. Certain metals become super-conducting when cooled below

(A) melting point

(B) transition temperature

(C) 00 K

(D) 00 C.

226. Which power plant is free from environmental pollution problems ?

(A) Thermal power plant

(B) Nuclear power plant

(C) Hydro-power plant

(D) Geothermal energy power plant

227. Chemical representation for heavy water is

(A) H20

(B) H2O2

(C) H30

(D) D3O.

228. The presence of CO2 and H2O in the atmosphere results in absorption of

(A) short wave ultra-violet radiations

(B) visible wavelengths of spectrum

(C) long wave infrared radiations

(D) all of the above.

229. Return to earth of the oxides of sulphur and nitrogen occurs in the form of

(A) acid rain

(B) acid snow

(C) acid fog

(D) any of the above.

230. The average pH of normal rainfall is usually

(A) neutral

(B) slightly acidic

(C) slightly alkaline.

231. Earth coal

(A) lignite

(B) coal dust

(C) black earth

(D) wet coal.

232. Ebb current is

(A) the same as eddy current

(B) the movement of the tidal current away from shore or down a tidal stream

(C) the removal by screen of undesirable fine materials from broken are

(D) none of the above.

233. Ekman spiral is an idealized mathematical description of

(A) ocean temperature gradient

(B) wind distribution in the planetary boundary layer

(C) carbon dioxide percentage variation with elevation

(D) radioactive decay of materials.

234. Which of the following converts electrical energy to radiant heat ?

(A) Solar cell

(B) Storage battery

(C) Wankel engine

(D) Incandescent lamp.

235. Which of the following converts thermal energy to kinetic energy ?

(A) Thermocouple

(B) Storage battery

(C) Fuel cell

(D) Rocket.

221.D ----- 222.C ----- 223.A ----- 224.A ----- 225.B ----- 226.C ----- 227.D ----- 228.C ----- 229.D ----- 230.B ----- 231.A ----- 232.B ----- 233.B ----- 234.D ----- 235.D

##### Question

1 points

#### The purpose of testing an internal combustion engine is

- 1. to determine the information, which can not be obtained by calculations

- 2. to conform the data used in design, the validity of which may be doubtful

- 3. to satisfy the customer regarding the performance of the engine

- 4. all of the above   4

| 1. | The reference fuels for knock rating of spark ignition engines would include |
| --- | --- |
|  | A.; iso-octane and alpha-methyl naphthalene. B.; normal octane and aniline. C.; iso-octane and normal hexane. D.; ormal heptane and iso-octane Ans D. |

236. Beneficiation process is mainly used for

(A) coals

(B) oils

(C) nuclides

(D) minerals.

237. Betz law finds application in

(A) MHD systems

(B) Solar cells

(C) Geothermal power plants

(D) Wind mills.

238. Cleat is

(A) main joint in a coal seam along which it breaks most easily

(B) floor of a coal seam

(C) carton and sulphur compound

(D) crude oil containing low percentage of sulphur.

239. Coal broken into angular fragments is known as

(A) coal briquettes

(B) coal breccia

(C) coal bank

(D) coal auger.

240. Coal rank classifies coal according to its

(A) carbon percentage

(B) ash content

(C) degree of metamorphism

(D) density.

241. Baryon is one of the class of heavy elementary particles that includes

(A) hyperons

(B) neutrons

(C) protons

(D) all of the above.

242. Isotopes of uranium

(A) U235

(B) U234

(C) U238

(D) all of the above.

243. Baume scale measures

(A) purity of water

(B) radioactivity

(C) specific gravity of liquids

(D) specific gravity of gases.

244. Beaufort scale is used to measure

(A) beta and gamma radiations

(B) with speed

(C) isolation

(D) depth of sea.

245. Beaufort scale is graded from 0 to

(A) 10

(B) 12

(C) 22

(D) 100.

246. API gravity is expressed in terms of

(A) gm/cc

(B) dimensionless numbers

(C) degrees

(D) none of the above.

247. Argillaceous rocks have

(A) high clay content

(B) high moisture content

(C) low moisture content

(D) low mineral content.

248. ASTM coal classification is based on

(A) proximate analysis

(B) ultimate analysis

(C) orsat analysis

(D) none of the above.

249. Barn

(A) spent fuel from a nuclear reactor

(B) a unit of area

(C) an electronic instrument for rapid counting of radiation

(D) a coal that does not form coke.

250. One barrel is nearly

(A) 0.96 cubic meter

(B) 0.44 cubic meter

(C) 0.16 cubic meter

(D) 0.013 cubic meter.

236.A ----- 237.D ----- 238.A ----- 239.B ----- 240.C ----- 241.D ----- 242.D ----- 243.C ----- 244.B ----- 245.B ----- 246.C ----- 247.A ----- 248.A ----- 249.B ----- 250.C

251. Activated carbon is used for

(A) absorption, of gases

(B) paints and varnishes as coloring agent

(C) production of carbon steels

(D) purification of water.

252. The phenomenon of physical adhesion of molecules to the surfaces of solids without chemical reaction is known as

(A) dredging

(B) coking

(C) adsorption

(D) liquation.

253. Solid or liquid panicles of microscopic size which are suspended in air or another gas form what is known as

(A) aerosol

(B) hyperon

(C) geognosy

(D) eluvium.

254. Air curtains find applications in

(A) air conditioned spaces

(B) green houses

(C) nuclear power pants

(D) solar energy systems.

255. The percentage of carbon in anthracites is generally

(A) more than 90%

(B) around 75%

(C) between 50% and 70%

(D) below 50%.

256. In a 2 stroke engine there is one power stroke in

(A) 90c of crank rotation

(B) 180c of crank rotation

(C) 360c of crank rotation

(D) 720c of crank rotation.

257. A fast breeder reactor

(A) operates with fast neutrons and produces less fissionable material than it consumes

(B) operates with fast neutrons and produces more fissionable material than it consumes

(C) operates with slow neutrons and produces less fissionable material than it consumes

(D) operates with slow neutrons and produces more fissonable material than it consumes.

258. Fluidized bed combustion helps to reduce

(A) boiler size

(B) pollution

(C) both (A) and (B) above.

259. Fly ash generally results from

(A) gas turbines

(B) diesel engines

(C) pulverized coal boilers

(D) fluidized bed boilers.

260. In a boiler, the carry over of slugs of water into the piping due to dirty water is termed as

(A) beating

(B) foaming

(C) seal ping

(D) pitting.

261. If a engine has a spark plug, it is concluded that the engine is a

(A) petrol engine

(B) diesel engine

(C) carnot engine

(D) joute engine.

262. In geothermal power plants waste water is

(A) re circulated after cooling in cooling towers

(B) discharged into sea

(C) discharged back to earth

(D) evaporated in ponds.

263. Grade of the coal is the same as

(A) ultimate analysis

(B) proximate analysis

(C) orsat analysis

(D) rank.

264. API gravity of water is taken as

(A) zero

(B)1.0

(C) 10

(D) 100.

265. Liquids lighter than water (such as petroleum oils) have APT gravities numerically

(A) less than 1.0

(B) greater than 1.0

(C) greater than 10

(D) around 100.

251.A ----- 252.C ----- 253.A ----- 254.A ----- 255.A ----- 256.C ----- 257.B ----- 258.C ----- 259.C ----- 260.B ----- 261.D ----- 262.C ----- 263.D ----- 264.C ----- 265.C

266. All of the following arc hard coals Except

(A) Anthracite

(B) Lignite

(C) Bituminous

(D) Semi bituminous.

267. All of the following are heavy metals except

(A) Mercury

(B) Sodium

(C) Chromium

(D) Cadmium.

268. Which of the following is heavy oil ?

(A) Gasoline

(B) Kerosene oil

(C) Diesel oil

(D) Bunker oil.

269. Deuterium oxide is used in nuclear reactors as

(A) fuel

(B) moderator

(C) shield

(D) regulator.

270. Heliochemical process is the process by which

(A) solar energy is utilized through photosynthesis

(B) neutron energy is converted into thermal energy

(C) geothermal energy is converted Into electrical energy

(D) wind energy is converted into electrical energy.

271. Fixed carbon in case of bituminous coals is less than

(A) 70%

(B) 50%

(C) 35%

(D) 15%.

272. Humacite is the name associated with

(A) lignites

(B) radioactive minerals

(C) bitumens

(D) refrigerants.

273. In case of humic coals, hydrogen percentage varies from

(A) 4 to 6 percent

(B) 10 to 15 percent

(C) 16 to 20 percent

(D) 20 to 30 percent.

274. Hyperon has mass

(A) greater than that of a proton and less than that of a deutron

(B) less than that of a proton and more than that of a deutron

(C) more than that of a proton as well as deuteron

(D) less than that of a proton as well as a deuteron.

275. The charge of a two stroke diesel engine consists of

(A) air + diesel fuel + lubricating oil

(B) air + diesel fuel

(C) air + lubricating oil

(D) air only.

276. Integrated demand is

(A) the demand averaged over a specific period

(B) the joint demand of several consumers

(C) supplementary demand of various consumers

(D) none of the above.

277. Which of the following is not needed in magneto hydrodynamic power plants ?

(A) Chimney

(B) Combustor

(C) Steam-turbine

(D) Fuel.

278. Marsh gas

(A) a mixture of gaseous hydrocarbons produced from coal or oil

(B) a by product of blast furnace

(C) low calorific value gas containing carbon monoxide and steam

(D) same as methane.

279. Nephtha is a volatile colourless product obtained from

(A) methyl alcohol

(B) vinyl acetate

(C) sugarcane

(D) petroleum.

280. Natural gas is obtained

(A) as by product from blast furnace

(B) as by product from petroleum refining

(C) from earth's surface usually along with crude

(D) from ammonia.

266.B ----- 267.B ----- 268.D ----- 269.B ----- 270.A ----- 271.A ----- 272.C ----- 273.A ----- 274.A ----- 275.D ----- 276.A ----- 277.C ----- 278.D ----- 279.D ----- 280.C

281. Osmotic energy conversion involves energy production from

(A) low boiling point liquids

(B) low vapor pressure liquids

(C) miscible liquids

(D) salt water.

282. Parr's-classification of coal is based on

(A) proximate analysis

(B) ultimate analysis

(C) orsat analysis

(D) none of the above.

283. Peat coal is

(A) anthracite coal, small in size

(B) same as peat

(C) low ash content lignite

(D) none of the above.

284. Perlite is

(A) a low ash containing coal

(B) same as lignite

(C) an insulation material

(D) none of the above.

285. PF number refers to

(A) acidic/alkaline water

(B) energy with which water is held in the soil

(C) decomposition of molecules caused by the absorption of light

(D) smog produced by the action of sunlight on the pollutants.

286. A photovoltaic cell converts

(A) heat energy into mechanical energy

(B) chemical energy into electrical energy

(C) solar energy into electrical energy

(D) electrical energy into chemical energy.

287. Producer gas mainly contains

(A) carbon dioxide and steam

(B) carbon monoxide and nitrogen

(C) methane, ethane and butane

(D) hydrocarbons.

288. Pyrheliometer measures

(A) intensity of direct solar radiation

(B) wind speed at an elevation

(C) fission caused by thermal neutrons

(D) total electromagnetic radiation emitted by the sun.

289. Quad is a measure of

(A) photosynthesis

(B) wind power

(C) radioactive decay

(D) energy.

290. For the same heat input and the same maximum pressure, the most efficient cycle is

(A) Brayton cycle

(B) Otto cycle

(C) Diesel cycle

(D) Dual cycle.

291. Sweet gas is free of

(A) carbon dioxide

(B) carbon monoxide

(C) nitrogen

(D) hydrogen sulphide.

292. Therm is a unit of

(A) radioactivity

(B) heating value

(C) wind speed

(D) tidal wave.

293. Thermal neutrons are

(A) exceptionally fast neutrons

(B) fast neutrons

(C) moderately fast neutrons

(D) slow neutrons.

294. No moving parts are required in

(A) MHD generator

(B) Tidal power plant

(C) Thermionic conversion

(D) OTEC power plant.

295. TNT stands for

(A) thermonuclear thorium

(B) total neutron transition

(C) thermal neutron treatment

(D) trinitrotoluene.

296. A sodium graphite reactor uses

(A) sodium as moderator and graphite as coolant

(B) sodium as coolant and graphite as moderator

(C) a mixture of sodium and graphite as coolant

(D) a mixture of sodium and graphite as moderator.

297. Solvent refined coal has low percentage of

(A) ash

(B) sulphur

(C) impurities

(D) all of the above.

281.D ----- 282.A ----- 283.A ----- 284.C ----- 285.B ----- 286.C ----- 287.B ----- 288.A ----- 289.D ----- 290.A ----- 291.D ----- 292.B ----- 293.D ----- 294.C ----- 295.D ----- 296.B ----- 297.D

1. In economizer, the heat of flue gases is used to reheat the steam.

2. Air meters are used in power plants to heat air used for combustion of coal.

3. Corrosion of air pre heater tube can be minimized by limiting the cooling of the flue gas to a temperature above the dew point

4. Air from air pre heater is sent to forced draft fans.

5. In a silver oxide cell depolarization is accompanied by oxide of silver.

6. Slow neutrons are very efficient in causing fission of uranium 235.

7. A gas turbine power plant suits as peak load plant

8. Steam coal is not suitable for steam boilers.

9. Still process is used for removing sulphur dioxide from flue gases.

10. A perfect heat absorber is also a perfect radiator.

11. A black body absorbs all the incident radiation striking it.

12. Pulverized fuel enters the boiler furnace through striker.

13. A jet aircraft has no propeller.

14. Steam generated in boilers for power plants is invariably dry and saturated.

15. Benson boiler is a drumless once through boiler.

16. Protium is the isotope of hydrogen having the mass number 1.

17. The mass of proton is approximately equal to that of electron.

18. Radon is a radioactive element one of of the heaviest gases known.

19. Rank classification of coal is based on the percentage of fixed carbon and heat content.

20. Rare earths are 15 in number.

21. Read vapor pressure is used for nuclear fuels.

22. The total amount of solid material in grams contained in 1 kg of sea water is called salinity.

23. No moderator is used in fast breeder reactors.

24. Semi-water gas is a mixture of carbon monoxide carbon dioxide, hydrogen and nitrogen.

25. Silica gel is a desiccant.

1.F ----- 2.T ----- 3.T ----- 4.F ----- 5.T ----- 6.T ----- 7.T ----- 8.F -----9.T -----10.T -----11.T ----- 12.F -----13.T -----14.F ----- 15.T ----- 16.T ----- 17.F ----- 18.T ----- 19.T ----- 20.T ----- 21.F ----- 22.T ----- 23.T ----- 24.T -----25.T    (T- True    F- False)

1. Out of the following which one is not a unconventional source of energy ?

(A) Tidal power

(B) Geothermal energy

(C) Nuclear energy

(D) Wind power.

2. Pulverized coal is

(A) coal free from ash

(B) non-smoking coal

(C) coal which bums For long time

(D) coal broken into fine particles.

3. Heating value of coal is approximately

(A) 1000-2000 kcal / kg

(B) 2000-4000 kcal / kg

(C) 5000-6500 kcal / kg

(D) 9000-10,500 kcal / kg.

4. Water gas is a mixture of

(A) CO2 and O2

(B) O2and H2

(C) H2, N2 and O2

(D) CO, N2 and H2.

5. Coal used in power plant is also known as

(A) steam coal

(B) charcoal

(C) coke

(D) soft coal.

6. Which of the following is considered as superior quality of coal ?

(A) Bituminous coal

(B) Peat

(C) Lignite

(D) Coke.

7. In a power plant, coal is carried from storage place to boilers generally by means of

(A) bucket

(B) V-belts

(C) trolleys

(D) manually.

8. Live storage of coal in a power plant means

(A) coal ready for combustion

(B) preheated coal

(C) storage of coal sufficient to meet 24 hour demand of the plant

(D) coal in transit.

9. Pressure of steam in condenser is

(A) atmospheric pressure

(B) more than pressure

(C) slightly less than pressure

(D) much less than pressure.

10. Equipment used for pulverizing the coal is known as

(A) Ball mill

(B) Hopper

(C) Burner

(D) Stoker.

11. Power plants using coal work closely on known which of the following cycle ?

(A) Otto cycle

(B) Binary vapor cycle

(C) Brayton cycle

(D) Rankine cycle.

12. Critical pressure of water is

(A) 1 kg / cm2

(B) 100 kg / cm2

(C) 155 kg / cm2

(D) 213.8 kg / cm2.

13. The efficiency of a thermal power plant improves with

(A) increased quantity of coal burnt

(B) larger quantity of water used

(C) lower load in the plant

(D) use of high steam pressures.

14. Which of the following contributes to the improvement of efficiency of Rankine cycle in a thermal power plant ?

(A) Reheating of steam at intermediate stage

(B) Regeneration use of steam for heating boiler feed water

(C) Use of high pressures

(D) All of the above.

15. Steam pressures usually used in thermal power plants are

(A) 5 kg/cm2 to 10 kg / cm2

(B) 50 kg/cm2 to 100 kg / cm2

(C) 110 kg/cm2 to 170 kg / cm2

(D) 200 kg/cm2 to 215 kg / cm2

1.C ----- 2.D ----- 3.C ----- 4.D ----- 5.A ----- 6.A ----- 7.B ----- 8.C -----9.D -----10.A -----11.D ----- 12.D -----13.D -----14.D ----- 15.C

16. When pulverized fuel is not used, the equipment used for supplying coal to the boiler is

(A) Heater

(B) Stoker

(C) Burner

(D) Skip hoist.

17. Burning of low grade fuel can be improved by

(A) Blending with better quality

(B) Oil assisted ignition

(C) Pulverizing

(D) Any of the above.

18. As steam expands in turbine

(A) its pressure increases

(B) its specific volume increases

(C) its boiling point increases

(D) its temperature increases.

19. Water is supplied to a boiler

(A) at atmospheric pressure

(B) at slightly more than atmospheric pressure

(C) at 100 cm/kg2

(D) at more than the steam pressure on the boiler.

20. Which of the following enters the super heater of a boiler ?

(A) Cold water

(B) Hot water

(C) Wet steam

(D) Super-heated steam.

21. Super heated steam is always

(A) at a temperature higher than the saturation temperature corresponding to a steam pressure

(B) at a pressure more than the boiler steam pressure

(C) separated from water particles before being supplied to turbine

(D) at a pressure less than the maximum cycle pressure.

22. The equipment installed in power plants to reduce air pollution due to smoke is

(A) Induced draft fans

(B) De-super heaters

(C) Electrostatic precipitators

(D) Re-heaters.

23. Permissible pH value of water for boilers is

(A) 1

(B) 7

(C) slightly more than 7

(D) 10.

24. A condenser in a thermal power plant condenses steam combing out of

(A) Boiler

(B) Super-heater

(C) Economizer

(D) Turbine.

25. Which of the following, is not a high pressure boiler ?

(A) Loeffler boiler

(B) Lancashire boiler

(C) Velox boiler

(D) Lamont boiler.

26. What is the maximum size of steam turbine usually being installed, for thermal power plants ?

(A) 120 MW

(B) 250 MW

(C) 500 MW

(D) 1000 MW.

27. Overall thermal efficiency of a steam power station is in the range

(A) 18-24%

(B) 30-40%

(C) 44-62%

(D) 68-79%.

28. Which of the following is not the voltage at which power is usually transmitted

(A)132 kV

(B) 66 kV

(C) 33 kV

(D) 20 kV.

29. Most of the generators in thermal power plants run at

(A) 3000 rpm

(B)1500 rpm

(C) 1000 rpm

(D) 750 rpm.

30. In regenerative cycle, bled steam is

(A) discharged to atmosphere

(B) condensed in steam condenser

(C) used to beat feed water for boiler

(D) is mixed with steam supplied to turbine.

16.B ----- 17.D ----- 18.B ----- 19.D ----- 20.C ----- 21.A ----- 22.C ----- 23.C -----24.D -----25.B ----- 26.C ----- 27.A -----28.D -----29.A ----- 30.C

31. Standard frequency usually for electric supply is

(A) 50 Hz

(B) 60 Hz

(C) 50 to 60 Hz

(D) 50 to 55 Hz.

32. In power station practice "spinning reserve" is

(A) reserve generating capacity that is in operation but not in service

(B) reserve generating capacity that is connected to bus and ready to take the load

(C) reserve generating capacity that is available for service but not in operation

(D) capacity of the part of the plant that remains under maintenance.

33. Bagasse is

(A) low quality coal

(B) a fuel consisting of wood

(C) fibrous portion of sugarcane left after extracting the juice

(D) a kind of rice straw.

34. Low grade fuels have

(A) low moisture content

(B) low ash content

(C) low calorific value

(D) low carbon content.

35. Which variety of coal has lowest calorific value?

(A) Steam-coal

(B) Bituminous coal

(C) Lignite

(D) Anthracite.

36. In a steam locomotive the engine is

(A) Single cylinder

(B) Vertical

(C) Condensing

(D) Non-condensing.

37. The boilers using lignite as fuel do not use

(A) under feed stoker

(B) traveling grate stoker

(C) spreader stoker

(D) all of the above.

38. In a steam turbine cycle, the lowest pressure occurs in

(A) turbine inlet

(B) boiler

(C) condenser

(D) super heater.

39. Steam pressure in modem thermal plants of 100 MW and above capacity may be exacted to be

(A) 10 kg/cm2

(B) 50 kg/cm2

(A) up to 100kg/cm2

(D) more than 100 kg/cm2.

40. The overall efficiency of a boiler in a thermal power plant is of the order of

(A)10%

(B) 25 to 30%

(C) 40 to 50%

(D) 70 to 80%.

41. Chemical composition of coal is given by

(A) Proximate analysis

(B) Ultimate analysis

(C) Orast analysis

(D) All of the above.

42. Which coal will have highest ash content ?

(A) Bituminous coal

(B) Grade I steam coal

(C) Coking coal

(D) Lignite.

43. Ash content of most of the Indian coals is around

(A) 1%

(B) 5%

(C) 10%

(D) 20%.

44. Ash content of coal can be reduced by

(A) slow burning

(B) washing

(C) pulverizing

(D) mixing with high grade coal.

45. A 100 MW thermal power-plant will consume nearly how many tonnes of coal in one hour ?

(A) 50 tonnes

(B) 150 tonnes

(C) 1500 tonnes

(D) 15,000 tonnes.

31.A ----- 32.B ----- 33.C ----- 34.C ----- 35.C ----- 36.D ----- 37.A ----- 38.C ----- 39.D ----- 40.D -----41.B ----- 42.D -----43.D -----44.B ----- 45.A

46. The steam consumption per kWh of electricity generated in a modem power plant is of the order of

(A) 1-2 kgs

(B) 2-4 kgs

(C) 5-7 kgs

(D) 10-12 kgs.

47. For low head and high discharge, the hydraulic turbine used is

(A) Kaplan turbine

(B) Francis turbine

(C) Pelton wheel

(D) Jonual turbine.

48. Soot is virtually nothing but

(A) ash

(B) cinder

(C) gas

(D) carbon

49. In pumped storage

(A) Power is produced by means of pumps

(B) Water is stored by pumping to high pressures

(C) Downstream water is pumped up-stream during off load periods

(D) Water is re circulated through turbine.

50. If the air standard efficiency of. a thermodynamic cycle is given as

η= 1 - ( k ( r-1 ) ) / ( rk-1 )

where r = compression ratio, k = Cp/ Cv

the cycle is

(A) Lenoir cycle

(B) Brayton cycle

(C) Atkinson cycle

(D) None of the above.

51. A graphical representation between discharge and time is known as

(A) Monograph

(B) Hectograph

(C) Topograph

(D) Hydrograph.

52. Cost of operation of which plant is least ?

(A) Gas turbine plant

(B) Thermal power plant

(C) Nuclear power plant

(D) Hydroelectric plant.

53. In a hydro-electric plant a conduct system for taking water from the intake works to the turbine is known as

(A) Dam

(B) Reservoir

(C) Penstock

(D) Surge tank.

54. A Pelton wheel is

(A) inward flow impulse turbine

(B) Outward flow impulse turbine

(C) Inward flow reaction turbine

(D) Axial flow impulse turbine.

55. Running away speed of a Pelton wheel is

(A) Actual operating speed on no load

(B) Full load speed

(C) No load speed when governor mechanism fails

(D) 90% greater than the normal speed.

56. Spouting velocity is

(A) Ideal velocity of jet

(B) 50% of ideal velocity of jet

(C) Actual velocity of jet

(D) Velocity of jet under specified conditions.

57. Outward radial flow turbines

(A) are impulses turbines

(B) are reaction turbines

(C) are partly impulse partly reaction turbines

(D) may be impulse or reaction turbines.

58. A Francis turbine is

(A) Inward flow reaction turbine

(B) Inward flow impulse turbine

(C) Outward flow reaction turbine

(D) Outward flow impulse turbine.

59. A Kaplan turbine is

(A) a high head mixed flow turbine

(B) an impulse turbine, inward flow type

(C) an reaction turbine, outward flow type

(D) low head axial flow turbine.

60. In turbulent flow

(A) the fluid particles move in orderly manner

(B) momentum transfer is on molecular scale only

(C) shear stresses are generally larger than in laminar flow

(D) cohesion is more effective than momentum transfer in causing shear stress.

46.C ----- 47.A ----- 48.D ----- 49.C ----- 50.A ----- 51.D ----- 52.D ----- 53.C ----- 54.D ----- 55.C ----- 56.A ----- 57.D ----- 58.A ----- 59.D ----- 60.C

61. An impulse turbine

(A) always operates submerged

(B) makes use of a draft tube

(C) is most suited for low head installations

(D) operates by initial complete conversion to kinetic energy.

62. In an impulse turbine

(A) water must be admitted over the whole circumference of the wheel

(B) it is net possible to regulate the flow without loss

(C) wheel must run full and be-kept entirely submerged in water below the tail race

(D) the pressure in the driving fluid as it moves over the vane, is atmospheric.

63. In binary vapor cycle

(A) steam at 2 different pressures is used

(B) steam is expanded in 2 turbines

(C) two fluids are used

(D) vapor and liquid are used as working substances.

64. Steam engine used in locomotive is

(A) single acting, condensing type

(B) single acting, non-condensing type

(C) double acting, non-condensing type

(D) double acting, condensing type.

65. In a thermal power plant cooling towers are used to

(A) condense low pressure steam

(B) cool condensed steam

(C) cool water used in condenser for condensing steam

(D) cool feed water of boiler.

66. Major constituent of methane gas is

(A) CO

(B) methane

(C) oxygen

(D) hydrogen.

67. Caking is

(A) making cakes of coal out of fine powders

(B) a variety of free burning coals

(C) coal produced from burning of wood in inert atmosphere

(D) in boiler furnace some coals become plastic and form lumps or masses of coal.

68. 1 atomic mass unit is equal to

(A) 1.66 x 10 -27 kg

(B) 1.66 x 10-25 kg

(C) 1.66 x 10 -17 kg

(D) 1.66 x 10-10 kg.

69. Particles having the same atomic number but different mass numbers arc called

(A) Positrons

(B) Beta particles

(C) Isotopes

(D) Decayed panicles.

70. Which of the following material can be used as a moderator ?

(A) Graphite

(B) Heavy water

(C) Beryllium

(D) Any of the above.

71. In closed cooling system

(A) hot water is re circulated after cooling

(B) water does not flow

(C) air and water cooling is simultaneously used

(D) constant supply of fresh water for cooling is required.

72. A gas turbine works on

(A) Carnot cycle

(B) Brayton cycle

(C) Dual cycle

(D) Rankine cycle.

73. Maximum efficiency of an open cycle gas turbine is nearly

(A) 30%

(B) 40%

(C) 50%

(D) 60%.

74. Compressor used in gas turbines is

(A) reciprocating compressor

(B) plunger type compressor

(C) screw compressor

(D) multistage axial flow compressor.

75. Which auxiliary of gas turbine consumes most of the power ?

(A) Burner

(B) Combustion chamber

(C) Compressor

(D) Fuel pump.

61.D ----- 62.D ----- 63.C ----- 64.C ----- 65.C ----- 66.B ----- 67.D ----- 68.A ----- 69.C ----- 70.D ----- 71.A ----- 72.B -----73.A ----- 74.D ----- 75.C

76. Gas turbine is widely used in

(A) pumping stations

(B) aircraft

(C) locomotives

(D) automobiles.

77. In aircraft using gas turbine, the cycle used is

(A) Simple

(B) Regeneration

(C) Reheating

(D) Reheating with regeneration.

78. Overall efficiency of gas turbine is

(A) equal to Rankine cycle efficiency

(B) equal to Carnot cycle efficiency

(C) more than Otto or Diesel cycle efficiency

(D) less than Diesel cycle efficiency.

79. In the figure, constant volume cycle is represented by

(A) 1245

(B)1235

(C) 12461

(D) 12345.

80. The cycle 1236 represents

(A) Otto cycle

(B) Dual cycle

(C) Constant pressure cycle

(D) Atkinson cycle.

81. Diesel cycle is represented by

(A) 1236

(B) 1246

(C) 1245

(D) 1285.

82. Which cycle cannot be represented in the given figure ?

(A) Otto cycle

(B) Constant pressure cycle

(C) Carnot cycle

(D) Brayton cycle.

83. The horse power of a Diesel locomotive is of the order of

(A) 100 to 200

(B) 500 to 1000

(C) 2000 to 2500

(D) 10.000 to 12,000.

84. A Diesel engine consumes Diesel oil nearly at the rate of

(A) 180 to 200 gm/BHP hr

(B) 400 to 450 gm/BHP hr

(C) 600 to 750 gm/BHP hr

(D) 1 kg/BHP hr.

85. The compression ratio in case of diesel engines is

(A) 5 to 7

(B) 7 to 10

(C) 14 to 22

(D) 25 to 36.

86. The firing order of a four cylinder engine is

(A)1-2-4-3

(B)1-4-2-3

(C) 1-2-3-4

(D)1-3-2-4.

87. The performance of engines of different HP, RPM and sizes can be compared on the basis of

(A) specific fuel consumption

(B) compression ratio

(C) clearance volume

(D) cylinder volume.

88. Advantage of hydro-electric power station is

(A) low operating cost

(B) free from pollution problems

(C) no fuel transportation problems

(D) all of the above.

89. Which engine will have highest efficiency, between given temperature limits ?

(A) Carnot cycle

(B) Otto cycle

(C) Diesel cycle

(D) Dual cycle.

90. Which if (he following is a non-petroleum fuel ?

(A) Benzol

(B) Methyl alcohol

(C) Ethyl alcohol

(D) All of the above.

76.B ----- 77.A ----- 78.D ----- 79.B ----- 80.D ----- 81.C ----- 82.D ----- 83.C ----- 84.A ----- 85.C ----- 86.A ----- 87.A ----- 88.D ----- 89.A ----- 90.D

| 1. | If the speed of the engine is increased, the indicated power will |
| --- | --- |
|  | A.; increase. B.; decrease. C.; remain same. Answer: Option A |

| 2. | The petrol engines are also known as __________ engines. |
| --- | --- |
|  | A.; compression ignition. B.; spark ignition. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 3. | The specific fuel consumption per B.P. hour for a petrol engine is about |
| --- | --- |
|  | A.; 0.2 kg. B.; 0.25 kg. C.; 0.3 kg. D.; 0.35 kg. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 4. | The material most commonly used for sheilding is |
| --- | --- |
|  | A.; carbon. B.; lead. C.; concrete. D.; all of these. Answer & Explanation Answer: Option C Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 5. | In order to eliminate knocking in compression ignition engines, there should be |
| --- | --- |
|  | A.; short delay period. B.; late auto-ignition. C.; low compression ratio. D.; high self ignition temperature of fuel. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. |
| 6. | In a petrol engine, the charge is ignited with the help of a spark plug. |
|  | A.; Yes; B.; No. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 7. | Reflector in nuclear power plants __________ neutron leakage. |
| --- | --- |
|  | A.; increases. B.; decreases. C.; have no effect on. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 8. | Number of working strokes per min. for a two stroke cycle engine are __________ the speed of the engine in r.p.m. |
| --- | --- |
|  | A.; equal to. B.; one-half. C.; twice. D.; four-times. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 9. | The injector nozzle of a compression ignition engine is required to inject fuel at a sufficiently high pressure in order to |
| --- | --- |
|  | A.; inject fuel in a chamber of high pressure at the end of compression stroke. B.; inject fuel at a high velocity to facilitate atomisation. C.; ensure that penetration is not high. D.; all of the above. Answer & Explanation Answer: Option D Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 10. | A two stroke cycle engine occupies larger floor area than a four stroke cycle engine. |
| --- | --- |
|  | A.; Yes; B.; No. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. |
| 11. | The indicated mean effective pressure of an engine is obtained from the indicator diagram drawn with the help of an engine indicator. |
|  | A.; True; B.; False. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 12. | A fuel of cetane number 40 has the same ignition quality as a mixture of |
| --- | --- |
|  | A.; 40% cetane and 60% alpha methyl napthalene. B.; 40% alpha methyl napthalene and 60% cetane. C.; 40% petrol and 60% diesel. D.; 40% diesel and 60% petrol. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 13. | The two reference fuels used for cetane rating are |
| --- | --- |
|  | A.; cetane and iso-octane. B.; cetane and alpha-methyl naphthalene. C.; cetane and normal heptane. D.; cetane and tetra ethyl lead. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 14. | In petrol engines, the delay period is of the order of |
| --- | --- |
|  | A.; 0.001 second. B.; 0.002 second. C.; 0.003 second. D.; 0.004 second. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 15. | The reflectivity of a reflector is defined as the fraction of neutrons entering the reflector which are returned to the core. |
| --- | --- |
|  | A.; Agree; B.; Disagree. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. |
| 16. | In a four stroke cycle petrol engine, the pressure inside the engine cylinder during the suction stroke is __________ the atmospheric pressure. |
|  | A.; equal to. B.; below. C.; above. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 17. | A diesel engine is __________ as compared to petrol engine, both running at rated load. |
| --- | --- |
|  | A.; equally efficient. B.; less efficient. C.; more efficient. Answer & Explanation Answer: Option C Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 18. | Which one of the following event would reduce volumetric efficiency of a vertical compression ignition engine ? |
| --- | --- |
|  | A.; inlet valve closing after bottom dead centre. B.; inlet valve closing before bottom dead centre. C.; inlet valve opening before top dead centre. D.; exhaust valve closing after top dead centre. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 19. | The pressure at the end of compression, in petrol engines, is approximately |
| --- | --- |
|  | A.; 10 bar. B.; 20 bar. C.; 25 bar. D.; 35 bar. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 20. | The sparking in a petrol engine increases pressure and temperature of the products of combustion, but the volume remains constant. |
| --- | --- |
|  | A.; Yes; B.; No. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. |
| 21. | Solid fuel fabricated into various small shapes, which are assembled to form fuel elements, is in the form of |
|  | A.; plates. B.; pallets. C.; pins. D.; all of these. Answer & Explanation Answer: Option D Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 22. | Which of the following statement is wrong ? |
| --- | --- |
|  | A.; A four stroke cycle engine develops twice the power as that of a two stroke cycle engine.. B.; For the same power developed, a four stroke cycle engine is lighter, less bulky and occupies less floor area.. C.; The petrol engines are costly than diesel engines.. D.; all of the above. Answer & Explanation Answer: Option D Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 23. | The turbine of the turbo-prop engine is __________ that of the turbo-jet engine. |
| --- | --- |
|  | A.; same as. B.; smaller than. C.; bigger than. Answer & Explanation Answer: Option C Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 24. | A higher compression ratio causes |
| --- | --- |
|  | A.; pre-ignition. B.; increase in detonation. C.; an acceleration in the rate of combustion. D.; any one of these. Answer & Explanation Answer: Option D Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 25. | Which of the following statement is correct ? |
| --- | --- |
|  | A.; Compression ratio for petrol engines varies from 6 to 10.. B.; Higher compression ratio in diesel engines results in higher pressures.. C.; Petrol engines work on Otto cycle.. D.; all of the above. Answer & Explanation Answer: Option D Explanation: No answer description available for this question. Let us discuss. |
| 26. | The correct sequence of the decreasing order of brake thermal efficiency of the three given basic types of engines is |
|  | A.; four stroke C.I. engine, four stroke S.I. engine, two stroke S.I. engine. B.; four stroke S.I. engine, four stroke C.I. engine, two stroke S.I. engine. C.; four stroke C.I. engine, two stroke S.I. engine, four stroke S.I. engine. D.; two stroke S.I. engine, four stroke S.I. engine, four stroke C.I. engine. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 27. | The engines in which the combustion of fuel takes place inside the engine cylinder are called internal combustion engines. |
| --- | --- |
|  | A.; True; B.; False. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 28. | A fuel will detonate less if it has higher self ignition temperature. |
| --- | --- |
|  | A.; True; B.; False. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 29. | The combustion in compression ignition engines is |
| --- | --- |
|  | A.; homogeneous. B.; hetrogeneous. C.; both (a) and (b). D.; none of these. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 30. | Which of the following fuel detonates readily ? |
| --- | --- |
|  | A.; Benzene. B.; Iso-octane. C.; Normal heptane. D.; Alcohol. Answer & Explanation Answer: Option C Explanation: No answer description available for this question. Let us discuss. |
| 31. | A spark plug gap is kept from |
|  | A.; 0.3 to 0.7 mm. B.; 0.2 to 0.8 mm. C.; 0.4 to 0.9 mm. D.; 0.6 to 1.0 mm. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 32. | The injection of fuel by external source is not required in case of engines working on Otto cycle. |
| --- | --- |
|  | A.; Yes; B.; No. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 33. | The running cost of a petrol engine is __________ than that of a diesel engine. |
| --- | --- |
|  | A.; higher; B.; lower. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 34. | In a petrol engine, if diesel is used, then the engine will |
| --- | --- |
|  | A.; not run. B.; run more efficiently. C.; run at high speed. D.; explode. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 35. | Number of working strokes per min. for a four stroke cycle engine are __________ the speed of the engine in r.p.m. |
| --- | --- |
|  | A.; equal to. B.; one-half. C.; twice. D.; four-times. Answer & Explanation Answer: Option B |
| 36. | The air standard efficiency of an I.C. engine depends on |
|  | A.; fuel used. B.; speed of engine. C.; compression ratio. D.; none of these. Answer & Explanation Answer: Option C Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 37. | The mean effective pressure of a diesel engine having fixed compression ratio will __________ if cut off ratio decreases. |
| --- | --- |
|  | A.; increase; B.; decrease. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 38. | The knocking tendency in spark ignition engines may be decreased by |
| --- | --- |
|  | A.; controlling the air-fuel mixture. B.; controlling the ignition timing. C.; controlling the exhaust temperature. D.; reducing the compression ratio. Answer & Explanation Answer: Option D Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 39. | In a two stroke engine, the working cycle is completed in two revolutions of the crankshaft. |
| --- | --- |
|  | A.; Correct; B.; Incorrect. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 40. | A reactor capable of converting a fertile material into fissile isotopes is called regenerative reactor. |
| --- | --- |
|  | A.; Yes; B.; No. Answer & Explanation Answer: Option A |
| 41. | Alpha-methyl-naphthalene (C11 H10) has a cetane number of |
|  | A.; 0; B.; 50. C.; 100; D.; 120. Answer & Explanation Answer: Option A Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 42. | In a petrol engine, the mixture has the lowest pressure at the |
| --- | --- |
|  | A.; beginning of suction stroke. B.; end of suction stroke. C.; end of compression stroke. D.; none of these. Answer & Explanation Answer: Option B Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 43. | Which of the following does not relate to a spark ignition engine ? |
| --- | --- |
|  | A.; Ignition coil. B.; Spar kplug. C.; Carburettor. D.; Fuel injector. Answer & Explanation Answer: Option D Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 44. | The increase in intake temperature of internal combustion engines will __________ efficiency. |
| --- | --- |
|  | A.; have no effect on. B.; increase. C.; decrease. Answer & Explanation Answer: Option C Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 45. | The reflectivity depends upon |
| --- | --- |
|  | A.; geometry of the reflector. B.; energy of neutrons. C.; properties of the reflector. D.; all of these. Answer & Explanation Answer: Option D |
| 1. | The cetane number of diesel oil, generally available, is |
|  | A.; 20 to 25. B.; 25 to 30. C.; 30 to 40. D.; 40 to 55. Answer & Explanation Answer: Option D Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 2. | The object of providing masked inlet valve in the air passage of compression ignition engines is to |
| --- | --- |
|  | A.; enhance flow rate. B.; control air flow. C.; induce primary swirl. D.; induce secondary turbulence. Answer & Explanation Answer: Option C |

| 3. | During suction stroke of a four stroke petrol engine, the inlet valve opens and the charge is sucked into the cylinder as the piston moves upwards from the bottom dead centre. |
| --- | --- |
|  | A.; True; B.; False. Answer: Option B No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 4. | The power actually developed by the engine cylinder of an I.C. engine is known as |
| --- | --- |
|  | A.; theoretical power. B.; actual power. C.; indicated power. D.; none of these. Answer & Explanation Answer: Option C Explanation: No answer description available for this question. Let us discuss. View Answer Workspace Report Discuss in Forum |

| 5. | A nuclear reactor is said to be critical when the neutron population in the reactor core is |
| --- | --- |
|  | A.; rapidly increasing leading to the point of explosion. B.; decreasing from the specified value. C.; reduced to zero. D.; constant. Answer & Explanation Answer: Option D |

# Matoshri College of Engineering & Research centre Nashik

# Department Of Electrical Engineering

# Power Generation Technologies

1. Out of the following which one is not a unconventional source of energy ?

(A) Tidal power

(B) Geothermal energy

(C) Nuclear energy

(D) Wind power.

C

2. Pulverized coal is

(A) coal free from ash

(B) non-smoking coal

(C) coal which bums For long time

(D) coal broken into fine particles.

D

3. Heating value of coal is approximately

(A) 1000-2000 kcal / kg

(B) 2000-4000 kcal / kg

(C) 5000-6500 kcal / kg

(D) 9000-10,500 kcal / kg.

C

4. Water gas is a mixture of

(A) CO2 and O2

(B) O2and H2

(C) H2, N2 and O2

(D) CO, N2 and H2.

D

5. Coal used in power plant is also known as

(A) steam coal

(B) charcoal

(C) coke

(D) soft coal.

A

6. Which of the following is considered as superior quality of coal ?

(A) Bituminous coal

(B) Peat

(C) Lignite

(D) Coke.

A

7. In a power plant, coal is carried from storage place to boilers generally by means of

(A) bucket

(B) V-belts

(C) trolleys

(D) manually.

B

8. Live storage of coal in a power plant means

(A) coal ready for combustion

(B) preheated coal

(C) storage of coal sufficient to meet 24 hour demand of the plant

(D) coal in transit.

C

9. Pressure of steam in condenser is

(A) atmospheric pressure

(B) more than pressure

(C) slightly less than pressure

(D) much less than pressure.

D

10. Equipment used for pulverizing the coal is known as

(A) Ball mill

(B) Hopper

(C) Burner

(D) Stoker.

A

11. Power plants using coal work closely on known which of the following cycle ?

(A) Otto cycle

(B) Binary vapor cycle

(C) Brayton cycle

(D) Rankine cycle.

D

12. Critical pressure of water is

(A) 1 kg / cm2

(B) 100 kg / cm2

(C) 155 kg / cm2

(D) 213.8 kg / cm2.

D

13. The efficiency of a thermal power plant improves with

(A) increased quantity of coal burnt

(B) larger quantity of water used

(C) lower load in the plant

(D) use of high steam pressures.

D

14. Which of the following contributes to the improvement of efficiency of Rankine cycle in a thermal power plant ?

(A) Reheating of steam at intermediate stage

(B) Regeneration use of steam for heating boiler feed water

(C) Use of high pressures

(D) All of the above.

D

15. Steam pressures usually used in thermal power plants are

(A) 5 kg/cm2 to 10 kg / cm2

(B) 50 kg/cm2 to 100 kg / cm2

(C) 110 kg/cm2 to 170 kg / cm2

(D) 200 kg/cm2 to 215 kg / cm2

C1.C ----- 2.D ----- 3.C ----- 4.D ----- 5.A ----- 6.A ----- 7.B ----- 8.C -----9.D -----10.A -----11.D ----- 12.D -----13.D -----14.D ----- 15.C

16. When pulverized fuel is not used, the equipment used for supplying coal to the boiler is

(A) Heater

(B) Stoker

(C) Burner

(D) Skip hoist.

B

17. Burning of low grade fuel can be improved by

(A) Blending with better quality

(B) Oil assisted ignition

(C) Pulverizing

(D) Any of the above.

D

18. As steam expands in turbine

(A) its pressure increases

(B) its specific volume increases

(C) its boiling point increases

(D) its temperature increases.

B

19. Water is supplied to a boiler

(A) at atmospheric pressure

(B) at slightly more than atmospheric pressure

(C) at 100 cm/kg2

(D) at more than the steam pressure on the boiler.

D

20. Which of the following enters the super heater of a boiler ?

(A) Cold water

(B) Hot water

(C) Wet steam

(D) Super-heated steam.

C

21. Super heated steam is always

(A) at a temperature higher than the saturation temperature corresponding to a steam pressure

(B) at a pressure more than the boiler steam pressure

(C) separated from water particles before being supplied to turbine

(D) at a pressure less than the maximum cycle pressure.

A

22. The equipment installed in power plants to reduce air pollution due to smoke is

(A) Induced draft fans

(B) De-super heaters

(C) Electrostatic precipitators

(D) Re-heaters.

C

23. Permissible pH value of water for boilers is

(A) 1

(B) 7

(C) slightly more than 7

(D) 10.

C

24. A condenser in a thermal power plant condenses steam combing out of

(A) Boiler

(B) Super-heater

(C) Economizer

(D) Turbine.

D

25. Which of the following, is not a high pressure boiler ?

(A) Loeffler boiler

(B) Lancashire boiler

(C) Velox boiler

(D) Lamont boiler.

B

26. What is the maximum size of steam turbine usually being installed, for thermal power plants ?

(A) 120 MW

(B) 250 MW

(C) 500 MW

(D) 1000 MW.

C

27. Overall thermal efficiency of a steam power station is in the range

(A) 18-24%

(B) 30-40%

(C) 44-62%

(D) 68-79%.

A

28. Which of the following is not the voltage at which power is usually transmitted

(A)132 kV

(B) 66 kV

(C) 33 kV

(D) 20 kV.

D

29. Most of the generators in thermal power plants run at

(A) 3000 rpm

(B)1500 rpm

(C) 1000 rpm

(D) 750 rpm.

A

30. In regenerative cycle, bled steam is

(A) discharged to atmosphere

(B) condensed in steam condenser

(C) used to beat feed water for boiler

(D) is mixed with steam supplied to turbine.

C

31. Standard frequency usually for electric supply is

(A) 50 Hz

(B) 60 Hz

(C) 50 to 60 Hz

(D) 50 to 55 Hz.

32. In power station practice "spinning reserve" is

(A) reserve generating capacity that is in operation but not in service

(B) reserve generating capacity that is connected to bus and ready to take the load

(C) reserve generating capacity that is available for service but not in operation

(D) capacity of the part of the plant that remains under maintenance.

33. Bagasse is

(A) low quality coal

(B) a fuel consisting of wood

(C) fibrous portion of sugarcane left after extracting the juice

(D) a kind of rice straw.

34. Low grade fuels have

(A) low moisture content

(B) low ash content

(C) low calorific value

(D) low carbon content.

35. Which variety of coal has lowest calorific value?

(A) Steam-coal

(B) Bituminous coal

(C) Lignite

(D) Anthracite.

36. In a steam locomotive the engine is

(A) Single cylinder

(B) Vertical

(C) Condensing

(D) Non-condensing.

37. The boilers using lignite as fuel do not use

(A) under feed stoker

(B) traveling grate stoker

(C) spreader stoker

(D) all of the above.

38. In a steam turbine cycle, the lowest pressure occurs in

(A) turbine inlet

(B) boiler

(C) condenser

(D) super heater.

39. Steam pressure in modem thermal plants of 100 MW and above capacity may be exacted to be

(A) 10 kg/cm2

(B) 50 kg/cm2

(A) up to 100kg/cm2

(D) more than 100 kg/cm2.

40. The overall efficiency of a boiler in a thermal power plant is of the order of

(A)10%

(B) 25 to 30%

(C) 40 to 50%

(D) 70 to 80%.

41. Chemical composition of coal is given by

(A) Proximate analysis

(B) Ultimate analysis

(C) Orast analysis

(D) All of the above.

42. Which coal will have highest ash content ?

(A) Bituminous coal

(B) Grade I steam coal

(C) Coking coal

(D) Lignite.

43. Ash content of most of the Indian coals is around

(A) 1%

(B) 5%

(C) 10%

(D) 20%.

44. Ash content of coal can be reduced by

(A) slow burning

(B) washing

(C) pulverizing

(D) mixing with high grade coal.

45. A 100 MW thermal power-plant will consume nearly how many tonnes of coal in one hour ?

(A) 50 tonnes

(B) 150 tonnes

(C) 1500 tonnes

(D) 15,000 tonnes.

31.A ----- 32.B ----- 33.C ----- 34.C ----- 35.C ----- 36.D ----- 37.A ----- 38.C ----- 39.D ----- 40.D -----41.B ----- 42.D -----43.D -----44.B ----- 45.A

46. An impulse turbine

(A) always operates submerged

(B) makes use of a draft tube

(C) is most suited for low head installations

(D) operates by initial complete conversion to kinetic energy.

47. In an impulse turbine

(A) water must be admitted over the whole circumference of the wheel

(B) it is net possible to regulate the flow without loss

(C) wheel must run full and be-kept entirely submerged in water below the tail race

(D) the pressure in the driving fluid as it moves over the vane, is atmospheric.

48. In binary vapor cycle

(A) steam at 2 different pressures is used

(B) steam is expanded in 2 turbines

(C) two fluids are used

(D) vapor and liquid are used as working substances.

49. Steam engine used in locomotive is

(A) single acting, condensing type

(B) single acting, non-condensing type

(C) double acting, non-condensing type

(D) double acting, condensing type.

50. In a thermal power plant cooling towers are used to

(A) condense low pressure steam

(B) cool condensed steam

(C) cool water used in condenser for condensing steam

(D) cool feed water of boiler.

51. Major constituent of methane gas is

(A) CO

(B) methane

(C) oxygen

(D) hydrogen.

52. The highest point on a load curve represents

(A) Average demand

(B) Diversion field demand

(C) Peak demand

(D) None of the above.

C

53. In the figure shown below which curve represents the variation of cost of power generation per kWh in a plant, with load factor ?

(A) curve A

(B) curve B

(C) curve C

(D) curve D.

A

54. For a thermal power plant, which is not the fixed cost ?

(A) Interest on capital

(B) Depreciation

(C) Insurance charges

(D) Cost of fuel.

D

55. Depreciation cost of a plant is calculated by

(A) Straight line method

(B) Diminishing value method

(C) Sinking fund method

(D) Any of the above.

56. Which method of depreciation charge estimation gives the heaviest charges during early years of plant life ?

(A) Straight line method

(B) Diminishing value method

(C) Sinking fund method

(D) All give same charges.

57. Power generation equipment in a thermal power plant costs $15,75,000 and has a useful life of 25 years. If the salvage value of the plant be $ 75,000 and the rate of annual compound interest be 5% the amount of annual installment by straight line method will be

(A) $. 30,000

(B) $. 60,000

(C) $. 60,500

(D) $. 60,750.

58. In the above case, which of the following could be the amount to be saved annually for replacement of equipment after the end of 25 years, by sinking fund method ?

(A) $. 31,400

(B) $. 60,000

(C) $. 66,000

(D) $. 96,500.

A

59. Which of the following could be the installment for diminishing value method ?

(A) $. 96,000

(B) $. 60,000

(C) $. 48,500

(D) $. 31400.

A

60. A diesel power plant is best suited as

(A) base load plant

(B) stand-by plant

(C) peak load plant

(D) general purpose plant.

B

61. A gas turbine power plant usually suits for

(A) peak load operation

(B) base load operation

(C) casual run

(D) none of the above.

A

62. Which power plant cannot have single unit of 100 MW ?

(A) Steam power plant

(B) Nuclear power plant

(C) Hydro electric power plant

(D) Diesel power plant.

D

63. Diesel engine power plants usually run on

(A) High speed diesel oil

(B) Kerosene

(C) Light diesel oil

(D) Inept.

C

64. Which of the following can be used as fuel for closed cycle gas turbine plant ?

(A) Wood

(B) Furnace oil

(C) Any gas

(D) Any of the above.

D

65. Capacity factor of a power station is

(A) Maximum demand / average demand

(B) Average demand on station / maximum demand on station

(C) maximum installed capacity of station / average demand of station

(D) average demand of station / maximum installed capacity of station.

D

62.C ----- 63.A ----- 64.D ----- 65.D ----- 66.B ----- 67.B ----- 68.A ----- 69.A ----- 70.B ----- 71.A ----- 72.D ----- 73.C ----- 74.D ----- 75.D

67. Caking is

(A) making cakes of coal out of fine powders

(B) a variety of free burning coals

(C) coal produced from burning of wood in inert atmosphere

(D) in boiler furnace some coals become plastic and form lumps or masses of coal.

68. 1 atomic mass unit is equal to

(A) 1.66 x 10 -27 kg

(B) 1.66 x 10-25 kg

(C) 1.66 x 10 -17 kg

(D) 1.66 x 10-10 kg.

69. Particles having the same atomic number but different mass numbers arc called

(A) Positrons

(B) Beta particles

(C) Isotopes

(D) Decayed panicles.

70. Which of the following material can be used as a moderator ?

(A) Graphite

(B) Heavy water

(C) Beryllium

(D) Any of the above.

71. In closed cooling system

(A) hot water is re circulated after cooling

(B) water does not flow

(C) air and water cooling is simultaneously used

(D) constant supply of fresh water for cooling is required.

72. A gas turbine works on

(A) Carnot cycle

(B) Brayton cycle

(C) Dual cycle

(D) Rankine cycle.

73. Maximum efficiency of an open cycle gas turbine is nearly

(A) 30%

(B) 40%

(C) 50%

(D) 60%.

74. Compressor used in gas turbines is

(A) reciprocating compressor

(B) plunger type compressor

(C) screw compressor

(D) multistage axial flow compressor.

75. Which auxiliary of gas turbine consumes most of the power ?

(A) Burner

(B) Combustion chamber

(C) Compressor

(D) Fuel pump.

16.B ----- 17.D ----- 18.B ----- 19.D ----- 20.C ----- 21.A ----- 22.C ----- 23.C -----24.D -----25.B ----- 26.C ----- 27.A -----28.D -----29.A ----- 30.C

76. Gas turbine is widely used in

(A) pumping stations

(B) aircraft

(C) locomotives

(D) automobiles.

77. In aircraft using gas turbine, the cycle used is

(A) Simple

(B) Regeneration

(C) Reheating

(D) Reheating with regeneration.

78. Overall efficiency of gas turbine is

(A) equal to Rankine cycle efficiency

(B) equal to Carnot cycle efficiency

(C) more than Otto or Diesel cycle efficiency

(D) less than Diesel cycle efficiency.

79. In the figure, constant volume cycle is represented by

(A) 1245

(B)1235

(C) 12461

(D) 12345.

80. The cycle 1236 represents

(A) Otto cycle

(B) Dual cycle

(C) Constant pressure cycle

(D) Atkinson cycle.

81. Diesel cycle is represented by

(A) 1236

(B) 1246

(C) 1245

(D) 1285.

82. Which cycle cannot be represented in the given figure ?

(A) Otto cycle

(B) Constant pressure cycle

(C) Carnot cycle

(D) Brayton cycle.

83. The horse power of a Diesel locomotive is of the order of

(A) 100 to 200

(B) 500 to 1000

(C) 2000 to 2500

(D) 10.000 to 12,000.

84. A Diesel engine consumes Diesel oil nearly at the rate of

(A) 180 to 200 gm/BHP hr

(B) 400 to 450 gm/BHP hr

(C) 600 to 750 gm/BHP hr

(D) 1 kg/BHP hr.

85. The compression ratio in case of diesel engines is

(A) 5 to 7

(B) 7 to 10

(C) 14 to 22

(D) 25 to 36.

86. The firing order of a four cylinder engine is

(A)1-2-4-3

(B)1-4-2-3

(C) 1-2-3-4

(D)1-3-2-4.

87. The performance of engines of different HP, RPM and sizes can be compared on the basis of

(A) specific fuel consumption

(B) compression ratio

(C) clearance volume

(D) cylinder volume.

88. Advantage of hydro-electric power station is

(A) low operating cost

(B) free from pollution problems

(C) no fuel transportation problems

(D) all of the above.

89. Which engine will have highest efficiency, between given temperature limits ?

(A) Carnot cycle

(B) Otto cycle

(C) Diesel cycle

(D) Dual cycle.

90. Which if (he following is a non-petroleum fuel ?

(A) Benzol

(B) Methyl alcohol

(C) Ethyl alcohol

(D) All of the above.

76.B ----- 77.A ----- 78.D ----- 79.B ----- 80.D ----- 81.C ----- 82.D ----- 83.C ----- 84.A ----- 85.C ----- 86.A ----- 87.A ----- 88.D ----- 89.A ----- 90.D